## DMRDataAnalysis (13)
Department Of Ecology : | DMR Data Analysis Report
Facility Name : | LOTT BUDD INLET WATER RECLAMATION FACILITY
Permit Number : | WA0037061
Begin Date : | 2019-03-01
End Date : | 2024-02-29
Parameters : | All Parameters
Printed : | 2024-03-27 17:07
Feature Type : | Surface Water Body
Feature Name | -1
Feature Description | (Budd Inlet, South Puget Sound)
Monitoring Point Code : | (INF)
Monitoring Point Description : | (Influent)
Monitoring Point Id : | -118432
Parameter | Ammonia (Total) | Ammonia (Total) | Ammonia (Total) | Ammonia (Total) | Biochemical Oxygen Demand (BOD5) (Total) | Biochemical Oxygen Demand (BOD5) (Total) | Biochemical Oxygen Demand (BOD5) (Total) | Biochemical Oxygen Demand (BOD5) (Total) | Flow (Not Applicable) | Flow (Not Applicable) | Solids (Residue) (Total suspended (TSS)) | Solids (Residue) (Total suspended (TSS)) | Solids (Residue) (Total suspended (TSS)) | Solids (Residue) (Total suspended (TSS))
Units | Lbs/Day | Lbs/Day | Milligrams/L (mg/L) | Milligrams/L (mg/L) | Lbs/Day | Lbs/Day | Milligrams/L (mg/L) | Milligrams/L (mg/L) | Million Gallons/Day (MGD) | Million Gallons/Day (MGD) | Lbs/Day | Lbs/Day | Milligrams/L (mg/L) | Milligrams/L (mg/L)
Statistical Base | Average | Maximum | Average | Maximum | Average | Maximum | Average | Maximum | Average | Maximum | Average | Maximum | Average | Maximum
Limits | - / - | - / - | - / - | - / - | - / - | - / - | - / - | - / - | - / - | - / - | - / - | - / - | - / - | - / -
Benchmarks | - / - | - / - | - / - | - / - | - / - | - / - | - / - | - / - | - / - | - / - | - / - | - / - | - / - | - / -
Design Limit |  |  |  |  | 37600 |  |  |  | 28 | 55 | 35100
Date | Value | Value | Value | Value | Value | Value | Value | Value | Value | Value | Value | Value | Value | Value
2019-03-01 | 2744.67 | 2980 | 30.3167 | 32.7 | 26175.5 | 31746 | 291.353 | 342 | 10.8458 | 12.44 | 24976.9 | 33417 | 276.452 | 360
2019-04-01 | 2597.77 | 2760 | 28.5077 | 30.2 | 25902.5 | 32930 | 284.25 | 357 | 10.9377 | 12.26 | 25427.3 | 32498 | 279.6 | 350
2019-05-01 | 2545.21 | 2911 | 30.2214 | 35.8 | 25606.8 | 29639 | 307.316 | 366 | 9.9739 | 11.3 | 24829.1 | 31221 | 298.742 | 393
2019-06-01 | 2530.67 | 2823 | 30.1667 | 34.1 | 26528.3 | 44859 | 313.563 | 571 | 10.087 | 11.78 | 27811.3 | 77736 | 332.067 | 989
2019-07-01 | 2796.65 | 3247 | 32.7353 | 36.8 | 26140.6 | 34165 | 307.611 | 406 | 10.1894 | 11.9 | 27046.4 | 39894 | 317.871 | 474
2019-09-01 | 2789.14 | 3218 | 31.3214 | 33 | 24733.2 | 37350 | 275.118 | 331 | 10.694 | 13.88 | 26578.5 | 49650 | 296.367 | 440
2019-10-01 | 2758.15 | 4278 | 31.1538 | 36.1 | 25656.7 | 48339 | 293.421 | 600 | 10.4358 | 16.68 | 26633.4 | 51472 | 307.161 | 639
2019-11-01 | 2305.17 | 2464 | 29.7 | 31.7 | 24332.1 | 27412 | 314.188 | 349 | 9.2777 | 11.13 | 24618.9 | 32075 | 318.2 | 366
2019-12-01 | 2466.36 | 3195 | 26.7857 | 34.3 | 23728.2 | 31828 | 249.941 | 345 | 12.6735 | 40.59 | 24781.4 | 41469 | 253.613 | 341
2020-01-01 | 2797.93 | 4699 | 18.2429 | 26.1 | 25360.7 | 30524 | 171.222 | 250 | 18.681 | 32.72 | 27261.2 | 39391 | 184.935 | 320
2020-02-01 | 3053.83 | 3553 | 26.3167 | 31.1 | 25603.4 | 34075 | 217.733 | 286 | 14.6514 | 29.34 | 27038.5 | 43674 | 227.034 | 287
2020-03-01 | 2691.86 | 3061 | 28.4857 | 31.4 | 24932.7 | 29250 | 264.444 | 329 | 11.2877 | 14.92 | 24080.7 | 30028 | 257.323 | 337
2020-04-01 | 2704 | 2898 | 30.3923 | 32.4 | 21675 | 24745 | 246.611 | 297 | 10.5977 | 12.43 | 22413.9 | 28328 | 254.3 | 340
2020-05-01 | 2577.25 | 3107 | 31.4333 | 36 | 22389.8 | 25202 | 263.75 | 307 | 10.1997 | 12.15 | 23169.8 | 35990 | 272.484 | 355
2020-06-01 | 2267.14 | 2527 | 27.6857 | 31.8 | 23426.6 | 30842 | 293.333 | 393 | 9.6917 | 11.82 | 23553.9 | 34320 | 292.867 | 437
2020-07-01 | 2250.38 | 2519 | 29.2692 | 31.7 | 22297.7 | 36682 | 294.833 | 486 | 9.1397 | 10.1 | 23464.6 | 34863 | 307.484 | 462
2020-08-01 | 2406.58 | 2826 | 30.6083 | 33.5 | 23479.4 | 41813 | 302.235 | 542 | 9.3129 | 10.33 | 24572.8 | 41540 | 315.935 | 538
2020-09-01 | 2331.81 | 3201 | 29.125 | 33.7 | 24357 | 39204 | 306.444 | 516 | 9.658 | 12.93 | 26404.3 | 43155 | 328.5 | 568
2020-10-01 | 2663.83 | 2964 | 32.1583 | 36.9 | 22446 | 28371 | 270.824 | 339 | 10.1897 | 15.53 | 25162.1 | 33286 | 300.742 | 410
2020-11-01 | 2479.77 | 2832 | 25.7231 | 36.5 | 22603.2 | 25906 | 236 | 273 | 12.3077 | 19.43 | 25495.2 | 33313 | 255.133 | 383
2020-12-01 | 2471.14 | 2760 | 22.7857 | 28.4 | 23589.9 | 29224 | 214.222 | 286 | 13.6132 | 27.81 | 25100.1 | 38697 | 229.774 | 339
2021-01-01 | 2543 | 2906 | 18.9333 | 24.2 | 22813.4 | 29780 | 170.875 | 258 | 18.5329 | 45.05 | 24353.9 | 31825 | 175.935 | 300
2021-02-01 | 2494.92 | 2900 | 18.5333 | 23.1 | 22573.6 | 28383 | 170 | 222 | 16.1621 | 23.1 | 22155.9 | 28898 | 167.893 | 203
2021-03-01 | 2364.71 | 2580 | 22.05 | 24.5 | 22731.7 | 32745 | 218.833 | 349 | 12.5542 | 14.66 | 22536.6 | 28174 | 215.935 | 278
2021-04-01 | 2297.15 | 2439 | 25.6538 | 27.8 | 22694.3 | 25513 | 255.438 | 295 | 10.613 | 11.73 | 23594.9 | 34288 | 267.6 | 384
2021-05-01 | 2815 | 3334 | 32.1615 | 34.2 | 26492.4 | 31393 | 300.412 | 335 | 10.45 | 12.56 | 24698 | 31431 | 282.968 | 346
2021-06-01 | 2574.69 | 2820 | 28.3154 | 32.2 | 23824.2 | 28278 | 266.889 | 299 | 10.9897 | 14.01 | 25181.1 | 34664 | 275.767 | 374
2021-07-01 | 2450.69 | 2794 | 28.9077 | 31.6 | 22621.4 | 27639 | 271.059 | 342 | 9.9616 | 11.32 | 22896.7 | 34481 | 276.258 | 427
2021-08-01 | 2275.14 | 2491 | 29.9929 | 31.8 | 22477.9 | 27890 | 296.522 | 355 | 9.0752 | 9.95 | 23397.2 | 42362 | 308.548 | 538
2021-09-01 | 2257.17 | 2598 | 28.5417 | 31.3 | 21690.5 | 25662 | 277.526 | 313 | 9.4 | 11.88 | 24437.9 | 34170 | 312.533 | 428
2021-10-01 | 2290 | 2417 | 27.2308 | 31 | 20483.9 | 24342 | 254.688 | 300 | 10.1461 | 17.38 | 23230.3 | 33067 | 278.387 | 358
2021-11-01 | 2402 | 2999 | 20.0538 | 27.7 | 24111.3 | 29470 | 197.5 | 280 | 15.0327 | 24.15 | 26195.2 | 44934 | 212.367 | 281
2021-12-01 | 2597.07 | 3026 | 21.45 | 27.5 | 27607 | 38722 | 216.889 | 299 | 15.6023 | 28.92 | 28424.6 | 43341 | 224.968 | 388
2022-01-01 | 2586.42 | 2805 | 18.0583 | 24 | 26468.8 | 33226 | 191.176 | 286 | 18.6439 | 51.32 | 26233.9 | 42801 | 189.516 | 325
2022-02-01 | 2653.31 | 3074 | 25.8 | 29.9 | 26244 | 34267 | 257.95 | 356 | 12.4579 | 34.82 | 23986.1 | 39332 | 238.071 | 381
2022-03-01 | 2650.92 | 2872 | 23.2333 | 26.6 | 25492.7 | 30217 | 227.941 | 272 | 13.9132 | 22.66 | 26744.6 | 35935 | 234.355 | 327
2022-04-01 | 2503.38 | 2767 | 23.3308 | 26.8 | 28580.8 | 50033 | 267.438 | 472 | 13.0537 | 18.36 | 28033.8 | 49688 | 259.1 | 469
2022-05-01 | 2390.54 | 2675 | 23.9308 | 25.9 | 26342.6 | 30203 | 263.667 | 303 | 12.0574 | 15.24 | 26566.5 | 34159 | 265 | 358
2022-06-01 | 2300.93 | 2694 | 25.6643 | 29 | 27169.8 | 42315 | 281.529 | 495 | 11.545 | 16.65 | 26343.2 | 39293 | 276.8 | 393
2022-07-01 | 2392.23 | 2863 | 28.7769 | 32.2 | 25792.1 | 30633 | 308.588 | 342 | 10.0123 | 11.05 | 26195.6 | 34399 | 313.452 | 410
2022-08-01 | 2468.5 | 2751 | 30.6571 | 34.4 | 24924.4 | 30480 | 314.333 | 423 | 9.6119 | 10.89 | 26936.7 | 43715 | 336.839 | 560
2022-09-01 | 2485.92 | 2764 | 31.2 | 33.7 | 23753.1 | 30412 | 296.111 | 327 | 9.5147 | 11.22 | 25567.9 | 32421 | 322.3 | 386
2022-10-01 | 2511.67 | 2953 | 30.35 | 33.8 | 25408.6 | 28094 | 307.941 | 356 | 10.209 | 14.44 | 27648.3 | 41720 | 327.516 | 504
2022-11-01 | 2618.57 | 3238 | 27.4357 | 33.1 | 28042.8 | 47518 | 274.529 | 537 | 12.6407 | 26.27 | 26372.4 | 39524 | 260.333 | 447
2022-12-01 | 2819.15 | 3185 | 25.1077 | 32.5 | 27349.2 | 49678 | 247.222 | 542 | 13.9977 | 24.6 | 26700.4 | 54698 | 240.871 | 597
2023-01-01 | 3069.15 | 3605 | 24.8385 | 30.5 | 30093.3 | 38531 | 249 | 309 | 14.6645 | 19 | 28952.2 | 35880 | 240 | 342
2023-02-01 | 3007.08 | 3382 | 29.5167 | 33.3 | 26139.9 | 34680 | 258.429 | 377 | 12.1807 | 15.74 | 26763.9 | 37686 | 265.214 | 410
2023-03-01 | 2799.79 | 3188 | 27.4357 | 31 | 27793.6 | 43079 | 274.053 | 470 | 12.3471 | 16 | 30280.5 | 46943 | 297.161 | 474
2023-04-01 | 2783.69 | 3100 | 23.1769 | 26.8 | 25184.8 | 31487 | 214.313 | 285 | 14.003 | 18.08 | 26094.1 | 39428 | 226.567 | 387
2023-05-01 | 2725.64 | 3347 | 29.7786 | 35.3 | 28217.5 | 47068 | 309 | 499 | 11.0106 | 12.61 | 33977.1 | 63100 | 369.839 | 669
2023-06-01 | 2723.62 | 3089 | 32.3154 | 36.8 | 26272 | 31128 | 312.412 | 369 | 10.0493 | 11.87 | 27386.9 | 36525 | 327.833 | 446
2023-07-01 | 2526.07 | 2722 | 31.6214 | 34 | 25251 | 32026 | 317.375 | 400 | 9.4768 | 10.7 | 27597.2 | 35114 | 348.839 | 419
2023-08-01 | 2591.86 | 2871 | 32.2786 | 35.2 | 25411.7 | 31296 | 310.667 | 395 | 9.6813 | 11.03 | 27656.5 | 34051 | 342.742 | 422
2023-09-01 | 2695.67 | 2950 | 30.2833 | 33.4 | 24842.6 | 29003 | 290.824 | 337 | 10.4003 | 11.96 | 28319.8 | 36156 | 327.033 | 419
2023-10-01 | 2516.54 | 2725 | 29.4385 | 33.1 | 24775.1 | 34203 | 288 | 384 | 10.2845 | 13.44 | 26917.6 | 36742 | 314.548 | 412
2023-11-01 | 2702.79 | 3035 | 28.8357 | 36.4 | 25304.2 | 30893 | 261.412 | 314 | 11.9773 | 17.68 | 27559.5 | 39762 | 277.467 | 376
2023-12-01 | 2720.08 | 2905 | 21.75 | 27.8 | 28449.5 | 38852 | 247.563 | 385 | 15.1835 | 44.18 | 28155.8 | 38161 | 237.452 | 359
2024-01-01 | 3070.36 | 3756 | 23.3714 | 29.5 | 27884.4 | 31580 | 209.278 | 281 | 16.4835 | 23.5 | 30463.9 | 44474 | 227.387 | 387
2024-02-01 | 3009.08 | 3559 | 23.9923 | 28.4 | 27276.5 | 34085 | 217.067 | 264 | 14.9514 | 25.35 | 29550.7 | 45807 | 240.483 | 400
Min | 2250.38 | 2417 | 18.0583 | 23.1 | 20483.9 | 24342 | 170 | 222 | 9.0752 | 9.95 | 22155.9 | 28174 | 167.893 | 203
Max | 3070.36 | 4699 | 32.7353 | 36.9 | 30093.3 | 50033 | 317.375 | 600 | 18.681 | 51.32 | 33977.1 | 77736 | 369.839 | 989
Average | 2591.7595 | 3000.0339 | 27.2396 | 31.4322 | 25077.1508 | 33371.3559 | 264.6248 | 362.678 | 11.9206 | 18.3871 | 26076.7407 | 39070.6102 | 274.7875 | 415.4576
Median | 2577.25 | 2906 | 28.5077 | 31.8 | 25304.2 | 31393 | 270.824 | 342 | 10.9377 | 14.66 | 26233.9 | 36742 | 276.452 | 388
95th Percentile | 3013.555 | 3620.1 | 32.1732 | 36.53 | 28240.7 | 47600.1 | 313.6255 | 542 | 16.6884 | 40.949 | 29623.68 | 51794.6 | 337.4293 | 601.2
Monitoring Point Code : | -1
Monitoring Point Description : | (North Outfall)
Monitoring Point Id : | -118433
Parameter | Ammonia (Total) | Ammonia (Total) | Ammonia (Total) | Ammonia (Total) | Biochemical Oxygen Demand (BOD5) (Total) | Biochemical Oxygen Demand (BOD5) (Total) | Biochemical Oxygen Demand (BOD5) (Total) | Biochemical Oxygen Demand (BOD5) (Total) | Biochemical Oxygen Demand (BOD5) (Total) | Biochemical Oxygen Demand (BOD5) (Total) | Biochemical Oxygen Demand (BOD5) (Total) | Biochemical Oxygen Demand (BOD5) (Total) | Biochemical Oxygen Demand (BOD5) (Total) | Biochemical Oxygen Demand (BOD5) (Total) | Biochemical Oxygen Demand (BOD5) (Total) | Biochemical Oxygen Demand (BOD5) (Total) | Biochemical Oxygen Demand (BOD5) (Total) | Copper (Total) | Cyanide (Total) | Dissolved Oxygen (Not Applicable) | Dissolved Oxygen (Not Applicable) | Fecal Coliform (Not Applicable) | Fecal Coliform (Not Applicable) | Flow (Not Applicable) | Flow (Not Applicable) | Hardness, Total (As Caco3) (Total) | Kjeldahl Nitrogen (TKN) (Total) | Kjeldahl Nitrogen (TKN) (Total) | Lead (Total) | Nickel (Total) | Nitrate + Nitrite (Total) | Nitrate + Nitrite (Total) | Nitrogen (calculation) (Total Inorganic (NH3 + NO3 + | Nitrogen (calculation) (Total Inorganic (NH3 + NO3 + | Nitrogen (calculation) (Total Inorganic (NH3 + NO3 + | Nitrogen (calculation) (Total Inorganic (NH3 + NO3 + | Nitrogen (calculation) (Total Inorganic (NH3 + NO3 + | Nitrogen (calculation) (Total Inorganic (NH3 + NO3 + | Nitrogen (calculation) (Total Inorganic (NH3 + NO3 + | Nitrogen (calculation) (Total Inorganic (NH3 + NO3 + | Nitrogen (calculation) (Total Inorganic (NH3 + NO3 + | Nitrogen (calculation) (Total Inorganic (NH3 + NO3 + | Oil & Grease (Not Applicable) | pH (Hydrogen Ion) (Not Applicable) | pH (Hydrogen Ion) (Not Applicable) | Phenolics (Total Phenols) (Total) | Phosphorus (Total) | Phosphorus (Total Reactive) | Silver (Total) | Solids (Residue) (Total suspended (TSS)) | Solids (Residue) (Total suspended (TSS)) | Solids (Residue) (Total Dissolved Solids (TDS)) | Solids (Residue) (Total suspended (TSS)) | Solids (Residue) (Total suspended (TSS)) | Solids (Residue) (Total suspended (TSS)) | Temperature (Measured) | Temperature (Measured) | Zinc (Total)
Units | Milligrams/L (mg/L) | Milligrams/L (mg/L) | Milligrams/L (mg/L) | Milligrams/L (mg/L) | Lbs/Day | Lbs/Day | Lbs/Day | Lbs/Day | Lbs/Day | Lbs/Day | Milligrams/L (mg/L) | Milligrams/L (mg/L) | Milligrams/L (mg/L) | Milligrams/L (mg/L) | Milligrams/L (mg/L) | Milligrams/L (mg/L) | Percent | Micrograms/L (ug/L) | Micrograms/L (ug/L) | Milligrams/L (mg/L) | Milligrams/L (mg/L) | #/100ml | #/100ml | Million Gallons/Day (MGD) | Million Gallons/Day (MGD) | Milligrams/L (mg/L) | Milligrams/L (mg/L) | Milligrams/L (mg/L) | Micrograms/L (ug/L) | Micrograms/L (ug/L) | Milligrams/L (mg/L) | Milligrams/L (mg/L) | Lbs/Day | Lbs/Day | Lbs/Day | Lbs/Day | Lbs/Day | Lbs/Day | Milligrams/L (mg/L) | Milligrams/L (mg/L) | Milligrams/L (mg/L) | Milligrams/L (mg/L) | Milligrams/L (mg/L) | Standard Units | Standard Units | Micrograms/L (ug/L) | Milligrams/L (mg/L) | Milligrams/L (mg/L) | Micrograms/L (ug/L) | Lbs/Day | Lbs/Day | Milligrams/L (mg/L) | Milligrams/L (mg/L) | Milligrams/L (mg/L) | Percent | Degrees C | Degrees C | Micrograms/L (ug/L)
Statistical Base | Average | Average | Daily Maximum | Daily Maximum | Average | Average | Average | Weekly Average | Weekly Average | Weekly Average | Average | Average | Average | Weekly Average | Weekly Average | Weekly Average | Monthly Average (Min.) | Average | Quarter Average | Average | Daily Maximum | Monthly geometric mean | Weekly Geometric Mean | Average | Maximum | Annual Average | Average | Daily Maximum | Average | Average | Average | Daily Maximum | Average | Average | Average | Daily Average | Daily Maximum | Daily Maximum | Average | Average | Daily Maximum | Daily Maximum | Quarter Average | Maximum | Minimum | Quarter Average | Average | Average | Average | Average | Weekly Average | Annual Average | Average | Weekly Average | Monthly Average (Min.) | Average | Daily Maximum | Average
Limits | - / 26 | - / - | - / 36 | - / - | - / 5640 | - / 900 | - / 671 | - / 8460 | - / 1350 | - / 1006 | - / 30 | - / 8 | - / 7 | - / 45 | - / 12 | - / 10.5 | 85 / - | - / - | - / - | - / - | - / - | - / 200 | - / 400 | - / - | - / - | - / - | - / - | - / - | - / - | - / - | - / - | - / - | - / - | - / 288 | - / 388 | - / - | - / - | - / - | - / - | - / 3 | - / - | - / - | - / - | - / 9 | 6 / - | - / - | - / - | - / - | - / - | - / 5265 | - / 7898 | - / - | - / 30 | - / 45 | 85 / - | - / - | - / - | - / -
Benchmarks | - / - | - / - | - / - | - / - | - / - | - / - | - / - | - / - | - / - | - / - | - / - | - / - | - / - | - / - | - / - | - / - | - / - | - / - | - / - | - / - | - / - | - / - | - / - | - / - | - / - | - / - | - / - | - / - | - / - | - / - | - / - | - / - | - / - | - / - | - / - | - / - | - / - | - / - | - / - | - / - | - / - | - / - | - / - | - / - | - / - | - / - | - / - | - / - | - / - | - / - | - / - | - / - | - / - | - / - | - / - | - / - | - / - | - / -
Design Limit
Date | Value | Value | Value | Value | Value | Value | Value | Value | Value | Value | Value | Value | Value | Value | Value | Value | Value | Value | Value | Value | Value | Value | Value | Value | Value | Value | Value | Value | Value | Value | Value | Value | Value | Value | Value | Value | Value | Value | Value | Value | Value | Value | Value | Value | Value | Value | Value | Value | Value | Value | Value | Value | Value | Value | Value | Value | Value | Value
2019-03-01 | 0.80108 |  | 1.807 |  | 581.412 |  |  | 722 |  |  | 7.1271 |  |  | 8.21 |  |  | 97.8 | 6.83 |  | 7.5623 | 7.94 | 3 | 8 | 9.7648 | 11.28 |  | 2.8848 | 4.647 | 0.448 | 1.39 | 1.6831 | 2.706 | 203 |  |  |  | 289 |  | 2.4842 |  | 3.49 |  |  | 6.91 | 6.68 |  | 4.22 | 4.06 | 1.3 | 482.161 | 649 |  | 5.8823 | 7.25 | 98 | 14.0194 | 15 | 45.8
2019-04-01 |  | 0.443 |  | 1.83 |  | 593.25 |  |  | 781 |  |  | 7.3275 |  |  | 8.18 |  | 97.7 | 6.56 | 0.9 | 7.6173 | 8.5 | 13.4 | 22.8 | 9.8217 | 11.15 |  | 2.1757 | 4.054 | 0.284 | 1.27 | 1.7657 | 2.701 |  |  | 183.385 |  |  | 298 |  | 2.2087 |  | 3.392 | 4.7 | 6.97 | 6.67 | 4 | 2.98 | 2.7 | 1.25 | 444.167 | 765 |  | 5.398 | 9 | 98.2 | 15.7167 | 17 | 41.8
2019-05-01 |  | 0.13436 |  | 0.447 |  | 511.737 |  |  | 724 |  |  | 6.9279 |  |  | 8.57 |  | 98 | 7.82 |  | 7.8668 | 8.81 | 2.8 | 12.1 | 8.7729 | 9.83 |  | 1.7843 | 2.307 | 0.32 | 1.44 | 2.0993 | 2.875 |  |  | 166.429 |  |  | 225 |  | 2.2336 |  | 2.956 |  | 7.04 | 6.75 |  | 4.22 | 3.54 | 1.44 | 490.452 | 759 |  | 6.6532 | 10.8 | 98 | 17.9032 | 18.7 | 63.7
2019-06-01 |  | 0.11358 |  | 0.157 |  |  | 459.75 |  |  | 732 |  |  | 6.6212 |  |  | 9.55 | 98.3 | 7.88 |  | 8.148 | 9.02 | 2.1 | 2.3 | 8.2623 | 9.32 |  | 1.6642 | 2.241 | 0.506 | 1.65 | 1.1548 | 1.666 |  | 85.6667 |  | 128 |  |  |  | 1.2684 |  | 1.823 |  | 7.04 | 6.79 |  | 5.09 | 4.82 | 1.51 | 380.9 | 684 |  | 5.5643 | 10 | 98.6 | 19.6567 | 20.4 | 71.2
2019-07-01 |  | 0.13553 |  | 0.331 |  |  | 615.667 |  |  | 843 |  |  | 8.5622 |  |  | 10.44 | 97.6 | 8.38 | <0.9 | 7.7474 | 8.28 | 2.6 | 2.4 | 8.5348 | 9.7 |  | 2.15 | 2.862 | 0.486 | 1.7 | 2.2591 | 2.906 |  | 171.235 |  | 171 |  |  |  | 2.3946 |  | 3.026 | 4.2 | 7.08 | 6.83 | <4 | 3.63 | 3.44 | 1.58 | 636.355 | 1038 |  | 8.8652 | 15 | 97.6 | 20.8613 | 21.6 | 62.2
2019-09-01 |  | 0.12393 |  | 0.408 |  |  | 339.294 |  |  | 350 |  |  | 4.4641 |  |  | 4.85 | 98.6 | 8.5 |  | 7.8973 | 8.69 | 11.5275 | 65 | 9.0517 | 12.02 |  | 1.6026 | 1.86 | 0.404 | 1.47 | 3.4476 | 4.449 |  | 268.143 |  | 369 |  |  |  | 3.5716 |  | 4.857 |  | 7.11 | 6.89 |  | 3.63 | 3.44 | 1.26 | 261.2 | 302 |  | 3.44 | 3.86 | 99 | 21.3433 | 22 | 60.9
2019-10-01 |  | 0.16792 |  | 0.311 |  | 663.421 |  |  | 984 |  |  | 8.7747 |  |  | 12.07 |  | 97.3 | 9.13 | <0.5 | 8.5426 | 9.87 | 17 | 319 | 9.099 | 15.9 |  | 2.1881 | 2.553 | 0.406 | 1.44 | 2.6411 | 3.556 |  |  | 215.846 |  |  | 401 |  | 2.809 |  | 3.7 | 2.2 | 7.09 | 6.69 | <4 | 3.88 | 3.82 | 1.21 | 646.677 | 783 |  | 8.411 | 9.95 | 97.5 | 18.9677 | 20.3 | 62.5
2019-11-01 | 5.9325 |  | 9.692 |  | 1411.63 |  |  | 1642 |  |  | 19.8694 |  |  | 23.23 |  |  | 94.2 | 14.2 |  | 8.01 | 8.73 | 11.8042 | 26 | 8.47 | 10.35 |  | 9.6415 | 13.458 | 0.515 | 1.74 | 20.02 | 25.45 | 1831 |  |  |  | 2235 |  | 25.9525 |  | 30.94 |  |  | 6.99 | 6.38 |  | 5.32 | 4.74 | 1.49 | 1281.03 | 1680 |  | 18.0493 | 23.86 | 94.8 | 17.34 | 18.1 | 64.3
2019-12-01 | 6.5587 |  | 10.873 |  | 1780.53 |  |  | 2267 |  |  | 19.7165 |  |  | 23.12 |  |  | 92.5 | 10.5 |  | 8.1932 | 8.93 | 24.2184 | 63 | 11.3032 | 35.05 |  | 9.9074 | 13.928 | 0.491 | 2 | 15.1961 | 26.31 | 1837 |  |  |  | 2883 |  | 21.7549 |  | 27.859 |  |  | 7.02 | 6.42 |  | 6.08 | 5.48 | 1.55 | 1356.29 | 1818 |  | 14.5268 | 18.1 | 94.6 | 15.429 | 16.9 | 72.6
2020-01-01 | 12.3234 |  | 19.146 |  | 1492.61 |  |  | 2322 |  |  | 10.6406 |  |  | 19.24 |  |  | 94 | 6.67 | <0.5 | 7.7387 | 8.5 | 18.1535 | 62 | 17.0058 | 29 | 74 | 14.7061 | 22.77 | 0.222 | 1.1 | 1.3796 | 5.422 | 1982.5 |  |  |  | 2662 |  | 13.703 |  | 20.003 |  | 2.7 | 7.18 | 6.71 | <4 | 2.02 | 2.03 | 1.04 | 1300.35 | 1728 | 236 | 9.2636 | 13.48 | 95 | 13.1645 | 14.2 | 38.4
2020-02-01 | 11.5008 |  | 17.793 |  | 719 |  |  | 977 |  |  | 7.14 |  |  | 9.81 |  |  | 97.2 | 5.49 |  | 7.5572 | 7.92 | 21.7038 | 26 | 12.8721 | 27.23 |  | 11.1233 | 15.96 | 0.209 | 1 | 1.7536 | 3.794 | 1378.33 |  |  |  | 2147 |  | 13.2544 |  | 19.03 |  |  | 7.2 | 6.76 |  | 0.43 | 0.23 | 0.66 | 724.345 | 1358 |  | 6.6966 | 7.55 | 97.3 | 13.7276 | 14.5 | 30.7
2020-03-01 | 0.20664 |  | 1.061 |  | 548.389 |  |  | 574 |  |  | 6.4989 |  |  | 6.79 |  |  | 97.8 | 6.78 |  | 8.1561 | 8.83 | 7.4386 | 12 | 10.0839 | 13.66 |  | 2.5627 | 3.576 | 0.31 | 1.47 | 2.0641 | 3.104 | 194.071 |  |  |  | 359 |  | 2.2708 |  | 4.165 |  |  | 7.1 | 6.77 |  | 3.17 | 3.06 | 1.33 | 821.903 | 828 |  | 9.6826 | 9.99 | 96.5 | 14.5613 | 15 | 54.9
2020-04-01 |  | 0.096231 |  | 0.131 |  | 343.556 |  |  | 573 |  |  | 4.3972 |  |  | 5.46 |  | 98.4 | 6.37 | <0.5 | 8.287 | 8.59 | 4 | 9 | 9.3433 | 11.05 |  | 1.8695 | 2.232 | 0.172 | 1.22 | 2.2677 | 3.064 |  |  | 186.692 |  |  | 257 |  | 2.3639 |  | 3.149 | 2.6 | 7.02 | 6.84 | <4 | 3.08 | 0.02 | 1.1 | 611.433 | 969 |  | 7.8153 | 9.71 | 97.3 | 15.7567 | 16.8 | 44.9
2020-05-01 |  | 0.12075 |  | 0.352 |  | 248.063 |  |  | 396 |  |  | 3.2713 |  |  | 5.21 |  | 98.9 | 6.08 |  | 7.881 | 8.46 | 6 | 16 | 9.1745 | 11.36 |  | 1.7132 | 1.967 | 0.221 | 1.26 | 2.2572 | 2.982 |  |  | 173.333 |  |  | 237 |  | 2.378 |  | 3.074 |  | 7.06 | 6.81 |  | 2.85 | 2.94 | 1.26 | 502.516 | 777 |  | 6.5313 | 9.86 | 97.8 | 17.4677 | 18.6 | 48
2020-06-01 |  | 0.12171 |  | 0.26 |  |  | 274 |  |  | 290 |  |  | 3.8311 |  |  | 4.05 | 98.8 | 8.41 |  | 7.7053 | 8.24 | 5.3111 | 7 | 8.6453 | 10.53 |  | 1.8465 | 2.144 | 0.404 | 1.45 | 1.9571 | 2.579 |  | 156.143 |  | 156 |  |  |  | 2.0789 |  | 2.689 |  | 7.06 | 6.92 |  | 4.75 | 4.54 | 1.24 | 577.533 | 640 |  | 7.9687 | 8.51 | 97.5 | 18.9833 | 19.8 | 68.1
2020-07-01 |  | 0.065385 |  | 0.371 |  |  | 273.278 |  |  | 272 |  |  | 4.3111 |  |  | 4.4 | 98.7 | 6.61 | 0.6 | 7.4552 | 8.55 | 4 | 4 | 7.7303 | 9.07 |  | 2.1003 | 2.996 | 0.365 | 1.47 | 1.9152 | 2.792 |  | 127.923 |  | 128 |  |  |  | 1.9806 |  | 2.9 | 4.3 | 7.14 | 6.92 | <4 | 3.47 | 3.56 | 1.34 | 615.71 | 729 |  | 9.6865 | 11.44 | 97.3 | 20.5194 | 21.4 | 58.9
2020-08-01 |  | 0.10208 |  | 0.128 |  |  | 274.588 |  |  | 384 |  |  | 4.4059 |  |  | 6.36 | 98.8 | 6.54 |  | 7.4623 | 8.87 | 5 | 10 | 7.601 | 8.87 |  | 2.0708 | 2.666 | 0.462 | 1.67 | 2.3279 | 3.191 |  | 154.083 |  | 154 |  |  |  | 2.43 |  | 3.319 |  | 7.25 | 6.93 |  | 3.86 | 2.75 | 1.33 | 520.774 | 944 |  | 8.3164 | 15.62 | 97.8 | 21.6613 | 22.1 | 70.2
2020-09-01 |  | 0.13175 |  | 0.212 |  |  | 419.167 |  |  | 489 |  |  | 5.9683 |  |  | 6.44 | 98.2 | 12.5 |  | 7.55 | 8.9 | 7 | 9 | 8.4403 | 11.88 |  | 2.2769 | 2.945 | 0.535 | 1.98 | 2.1469 | 3.272 |  | 160.625 |  | 160.625 |  |  |  | 2.2787 |  | 3.466 |  | 7.29 | 7.08 |  | 5.34 | 5.1 | 1.53 | 989.967 | 1398 |  | 13.8023 | 17.11 | 96.2 | 21.4833 | 22.1 | 72.5
2020-10-01 |  | 0.12217 |  | 0.177 |  | 522.588 |  |  | 598 |  |  | 7.0794 |  |  | 8.58 |  | 97.6 | 15.1 | <0.5 | 7.5177 | 7.79 | 9.3075 | 13 | 8.9787 | 13.58 |  | 2.553 | 2.981 | 0.537 | 1.74 | 2.2245 | 2.666 |  |  | 171.75 |  |  | 232 |  | 2.3467 |  | 2.776 | 2.2 | 7.28 | 7 | 38 | 4.68 | 4.96 | 1.27 | 1149.94 | 1215 |  | 15.4852 | 17.33 | 95.3 | 19.7613 | 21.1 | 67.7
2020-11-01 | 0.18285 |  | 0.359 |  | 572.563 |  |  | 684 |  |  | 6.5131 |  |  | 8.27 |  |  | 97.5 | 15.5 |  | 7.887 | 9.36 | 5 | 9 | 11.2257 | 18.39 |  | 2.4793 | 3.326 | 0.294 | 1.64 | 5.0821 | 6.687 | 480.231 |  |  |  | 716 |  | 5.2649 |  | 6.89 |  |  | 7.18 | 6.81 |  | 3.28 | 3 | 1.32 | 1252.33 | 1480 |  | 13.393 | 17.77 | 95.1 | 16.7333 | 19 | 53.7
2020-12-01 | 0.19121 |  | 0.531 |  | 655.667 |  |  | 950 |  |  | 6.1139 |  |  | 6.64 |  |  | 97.3 | 11.9 |  | 8.3207 | 8.89 | 4.8 | 6.4 | 12.3048 | 25.03 |  | 2.2792 | 3.243 | 0.238 | 1.5 | 6.0431 | 7.624 | 631.857 |  |  |  | 1234 |  | 6.2343 |  | 7.95 |  |  | 7.06 | 6.64 |  | 2.35 | 2.49 | 1.19 | 1198.32 | 1529 |  | 11.4 | 13.1 | 95.2 | 15.1677 | 16.5 | 53.1
2021-01-01 | 0.12717 |  | 0.258 |  | 953.813 |  |  | 1339 |  |  | 6.7363 |  |  | 7.4 |  |  | 95.8 | 8.21 | <0.5 | 8.8477 | 9.82 | 9.2477 | 16 | 17.3939 | 40.96 | 74 | 2.2108 | 2.611 | 0.227 | 1.03 | 6.4417 | 11.299 | 803.5 |  |  |  | 1178 |  | 6.5688 |  | 11.391 |  | 3.6 | 6.96 | 6.48 | 7 | 2.23 | 1.9 | 0.91 | 1952.42 | 2697 | 271 | 13.1839 | 14.76 | 91.9 | 17.4871 | 137 | 36.9
2021-02-01 | 0.44817 |  | 1.332 |  | 610.353 |  |  | 734 |  |  | 4.6982 |  |  | 5.11 |  |  | 97.3 | 7.49 |  | 8.6032 | 9.31 | 6 | 7 | 15.15 | 21.59 |  | 2.1675 | 3.125 | 0.185 | 0.8 | 5.1904 | 8.803 | 752.5 |  |  |  | 1716 |  | 5.6386 |  | 9.532 |  |  | 7.01 | 6.68 |  | 2.38 | 2.11 | 0.99 | 1052.96 | 1215 |  | 8.3118 | 9.04 | 95.2 | 13.0643 | 13.9 | 35.6
2021-03-01 | 0.11871 |  | 0.519 |  | 462.889 |  |  | 496 |  |  | 4.8261 |  |  | 5.16 |  |  | 97.9 | 7.79 |  | 8.5468 | 8.86 | 3.9204 | 6 | 11.4735 | 13.98 |  | 1.9244 | 2.358 | 0.26 | 1.12 | 2.5061 | 3.722 | 261.786 |  |  |  | 422 |  | 2.6248 |  | 4.241 |  |  | 7.05 | 6.78 |  | 3.38 | 3.52 | 1.24 | 780.323 | 827 |  | 8.1129 | 8.75 | 96.5 | 14.0968 | 14.6 | 48.5
2021-04-01 |  | 0.10461 |  | 0.388 |  | 350.125 |  |  | 540 |  |  | 4.43 |  |  | 5.51 |  | 98.4 | 7.76 | <0.5 | 8.408 | 8.98 | 4.3092 | 6 | 9.4813 | 10.43 |  | 1.8062 | 2.1 | 0.308 | 1.02 | 1.7445 | 2.474 |  |  | 148.615 |  |  | 210 |  | 1.8492 |  | 2.548 | 1.8 | 7.03 | 6.72 | 17 | 3.71 | 3.24 | 1.18 | 542.733 | 742 |  | 6.8417 | 7.89 | 97.6 | 15.8067 | 17 | 54.7
2021-05-01 |  | 0.092154 |  | 0.209 |  | 372.882 |  |  | 399 |  |  | 4.9659 |  |  | 5.58 |  | 98.6 | 7.74 |  | 7.9042 | 8.5 | 5.91 | 12 | 8 | 10.78 |  | 2.0825 | 2.671 | 0.323 | 1.35 | 2.3927 | 2.866 |  |  | 186 |  |  | 250 |  | 2.4848 |  | 2.945 |  | 7.06 | 6.84 |  | 2.62 | 2.29 | 1.87 | 689 | 819 |  | 9.1987 | 11.49 | 97.1 | 17.8032 | 18.6 | 51.3
2021-06-01 |  | 0.11877 |  | 0.457 |  |  | 315.167 |  |  | 355 |  |  | 4.1833 |  |  | 4.4 | 98.7 | 7.74 |  | 7.575 | 8.15 | 4.8071 | 6 | 9.2973 | 12.56 |  | 1.8759 | 2.308 | 0.363 | 1.7 | 1.9425 | 3.538 |  | 154.769 |  | 227 |  |  |  | 2.0613 |  | 3.61 |  | 7.11 | 6.87 |  | 4.68 | 4.85 | 1.52 | 641.633 | 659 |  | 8.3 | 9 | 97.4 | 19.3933 | 20.9 | 59.8
2021-07-01 |  | 0.16482 |  | 0.633 |  |  | 340.471 |  |  | 394 |  |  | 4.9165 |  |  | 5.68 | 98.5 | 56.8 | <0.5 | 6.5958 | 7.68 | 6.7626 | 10 | 8.2874 | 9.34 |  | 2.5438 | 3.319 | 2.23 | 2.62 | 2.7962 | 3.979 |  | 204.529 |  | 296 |  |  |  | 2.9611 |  | 4.27 | 1.3 | 7.23 | 6.87 | 0.015 | 5.65 | 5.22 | 1.43 | 801.355 | 941 |  | 11.5535 | 13.67 | 96.5 | 21.4645 | 22.3 | 131
2021-08-01 |  | 0.098571 |  | 0.153 |  |  | 230.87 |  |  | 323 |  |  | 3.6048 |  |  | 5.13 | 99 | 9.39 |  | 7.4068 | 8.23 | 5.8411 | 7.1 | 7.7042 | 8.76 |  | 1.6628 | 2.096 | 0.498 | 1.68 | 1.2851 | 1.906 |  | 90.2143 |  | 90.21 |  |  |  | 1.3837 |  | 1.969 |  | 7.29 | 6.94 |  | 3.83 | 3.69 | 1.41 | 457.032 | 695 |  | 7.1355 | 11.12 | 98 | 22.0871 | 22.5 | 69
2021-09-01 |  | 0.11017 |  | 0.221 |  |  | 272.368 |  |  | 413 |  |  | 3.8568 |  |  | 5.59 | 98.8 | 10.2 |  | 7.0263 | 8.69 | 7.7586 | 13 | 8.417 | 11.68 |  | 1.7397 | 2.265 | 0.386 | 1.9 | 1.8818 | 2.598 |  | 143.417 |  | 224 |  |  |  | 1.9919 |  | 2.677 |  | 7.14 | 6.96 |  | 4.79 | 4.72 | 1.43 | 555.267 | 784 |  | 7.9107 | 11.05 | 97.7 | 21.5233 | 22.2 | 64.2
2021-10-01 |  | 0.097769 |  | 0.166 |  | 327.125 |  |  | 447 |  |  | 4.4138 |  |  | 6.19 |  | 98.4 | 11.7 | <0.5 | 6.9184 | 8.03 | 5.7789 | 9 | 9.5177 | 16.6 |  | 1.7376 | 2.362 | 0.36 | 1.7 | 1.8117 | 2.252 |  |  | 155.846 |  |  | 311 |  | 1.9095 |  | 2.341 | 2.9 | 7.2 | 6.82 | 20 | 4.43 | 4.1 | 1.1 | 553.613 | 717 |  | 7.1342 | 9.63 | 97.6 | 19.4774 | 20.8 | 61
2021-11-01 | 0.10746 |  | 0.29 |  | 357.056 |  |  | 413 |  |  | 3.0311 |  |  | 3.06 |  |  | 98.5 | 7.52 |  | 7.4927 | 8.17 | 3 | 4 | 14.043 | 23.07 |  | 1.3643 | 2.384 | 0.323 | 1.25 | 2.2493 | 3.802 | 289.769 |  |  |  | 580 |  | 2.3568 |  | 4.023 |  |  | 6.99 | 6.62 |  | 2.64 | 2.88 | 1.14 | 604.6 | 759 |  | 5.0117 | 5.41 | 97.7 | 16.5067 | 18.2 | 56.5
2021-12-01 | 0.096643 |  | 0.113 |  | 598.056 |  |  | 841 |  |  | 4.6194 |  |  | 5.83 |  |  | 97.8 | 8.85 |  | 8.1332 | 9.35 | 10.2072 | 35 | 14.4135 | 27.45 |  | 1.4419 | 1.774 | 0.292 | 1.33 | 3.1877 | 4.432 | 377.643 |  |  |  | 558 |  | 3.2844 |  | 4.524 |  |  | 6.86 | 6.51 |  | 4 | 3.85 | 1.19 | 968.129 | 1282 |  | 7.8281 | 9.86 | 96.6 | 14.5903 | 16.5 | 53.5
2022-01-01 | 0.30025 |  | 1.672 |  | 687.824 |  |  | 1410 |  |  | 4.24 |  |  | 5.79 |  |  | 97.4 | 5.09 | 2 | 8.4716 | 9.94 | 3 | 8 | 17.3848 | 46.68 | 94.8 | 1.7272 | 3.577 | 0.226 | 0.91 | 4.134 | 5.912 | 688.25 |  |  |  | 2106 |  | 4.4342 |  | 6.552 |  | 2.7 | 6.86 | 6.21 | 6 | 1.77 | 1.49 | 0.86 | 1627.1 | 4756 | 314 | 8.0561 | 16.24 | 94.4 | 12.9032 | 14.1 | 41.7
2022-02-01 | 0.089615 |  | 0.277 |  | 461 |  |  | 337 |  |  | 3.64 |  |  | 3.47 |  |  | 98.4 | 4.2 |  | 8.2018 | 8.93 | 4 | 4 | 11.4839 | 30.51 |  | 1.6038 | 3.479 | 0.288 | 1.35 | 3.1599 | 5.974 | 324.846 |  |  |  | 654 |  | 3.2495 |  | 6.117 |  |  | 6.92 | 6.5 |  | 4.43 | 3.68 | 1.26 | 745.643 | 465 |  | 5.5654 | 4.96 | 97.4 | 14.2929 | 14.7 | 44
2022-03-01 | 0.071231 |  | 0.32 |  | 261.294 |  |  | 1339 |  |  | 2.5412 |  |  | 6.71 |  |  | 99 | 4.24 |  | 8.1474 | 9.88 | 4 | 4 | 12.5984 | 23.06 |  | 1.2473 | 1.781 | 0.155 | 0.79 | 1.6427 | 2.502 | 188.692 |  |  |  | 383 |  | 1.7139 |  | 2.67 |  |  | 7.15 | 6.43 |  | 1.94 | 1.89 | 1.04 | 389.516 | 2037 |  | 3.5977 | 9.82 | 98.5 | 14.2226 | 15.4 | 35.1
2022-04-01 |  | 0.075308 |  | 0.144 |  | 285 |  |  | 349 |  |  | 2.9 |  |  | 3.47 |  | 99 | 4.55 | 1 | 7.851 | 8.86 | 3.7078 | 5 | 11.7093 | 16.46 |  | 1.1879 | 1.694 | 0.231 | 1.02 | 0.99838 | 1.647 |  |  | 105.615 |  |  | 208 |  | 1.0737 |  | 1.791 | 2.9 | 7.17 | 6.87 | 5 | 2.78 | 2.66 | 1.27 | 482.2 | 746 |  | 4.846 | 7.13 | 98.3 | 14.93 | 15.9 | 46.9
2022-05-01 |  | 0.092615 |  | 0.242 |  | 244 |  |  | 357 |  |  | 2.64 |  |  | 3.83 |  | 99.1 | 3.36 |  | 7.601 | 8.06 | 5 | 12 | 10.939 | 13.61 |  | 1.1631 | 1.354 | 0.206 | 1.53 | 0.50985 | 0.754 |  |  | 56.3077 |  |  | 96 |  | 0.60246 |  | 0.937 |  | 7.2 | 6.75 |  | 2.53 | 2.53 | 1.3 | 346.806 | 453 |  | 3.729 | 4.6 | 98.7 | 16.2226 | 17.2 | 44.6
2022-06-01 |  | 0.092857 |  | 0.151 |  |  | 253.588 |  |  | 303 |  |  | 2.8318 |  |  | 3 | 99 | 3.1 |  | 7.0897 | 8.05 | 3.1182 | 4 | 10.5947 | 15.73 |  | 1.308 | 1.472 | 0.179 | 1.72 | 0.28779 | 0.391 |  | 30.8571 |  | 40 |  |  |  | 0.38064 |  | 0.508 |  | 7.05 | 6.86 |  | 2.31 | 2.23 | 1.17 | 293.8 | 347 |  | 3.3133 | 3.66 | 98.9 | 18.0867 | 19.2 | 35.6
2022-07-01 |  | 0.083923 |  | 0.156 |  |  | 192.118 |  |  | 237 |  |  | 2.7088 |  |  | 3.07 | 99.3 | 4.26 | 0.8 | 6.7539 | 7.81 | 4.8 | 5.7 | 8.5642 | 9.64 |  | 1.435 | 1.863 | 0.184 | 1.72 | 0.32746 | 0.667 |  | 29.0769 |  | 29.1 |  |  |  | 0.41139 |  | 0.741 | 3.3 | 7.06 | 6.84 | 34 | 0.67 | 0.74 | 1.69 | 297.903 | 338 |  | 4.1806 | 4.83 | 98.9 | 20.0935 | 21.4 | 38.2
2022-08-01 |  | 0.11264 |  | 0.202 |  |  | 197.556 |  |  | 221 |  |  | 2.9411 |  |  | 3.39 | 99.2 | 4.15 |  | 6.1784 | 6.8 | 10.9166 | 11 | 8.1048 | 9.45 |  | 1.8144 | 2.381 | 0.174 | 1.81 | 0.55343 | 0.877 |  | 44.9286 |  | 68 |  |  |  | 0.66607 |  | 1.003 |  | 7.04 | 6.81 |  | 5.25 | 5.25 | 1.54 | 250.129 | 320 |  | 3.7119 | 4.77 | 99.1 | 21.7387 | 22.2 | 43.5
2022-09-01 |  | 0.079538 |  | 0.122 |  |  | 205.556 |  |  | 212 |  |  | 2.9044 |  |  | 3.07 | 99.1 | 5.38 |  | 6.1333 | 6.58 | 12 | 15 | 8.3663 | 10.31 |  | 1.5583 | 1.993 | 0.217 | 1.98 | 0.481 | 0.621 |  | 39.6923 |  | 39.69 |  |  |  | 0.56054 |  | 0.692 |  | 7.06 | 6.82 |  | 2.82 | 2.74 | 1.54 | 206.7 | 228 |  | 2.9533 | 3.26 | 99.2 | 21.72 | 22.5 | 43.7
2022-10-01 |  | 0.14142 |  | 0.217 |  | 226.294 |  |  | 311 |  |  | 2.9535 |  |  | 3.69 |  | 99.1 | 5.39 | <0.5 | 6.6748 | 7.29 | 5 | 9 | 9.2084 | 13.48 |  | 1.5118 | 1.964 | 0.255 | 1.86 | 1.007 | 1.333 |  |  | 86.5833 |  |  | 129 |  | 1.1484 |  | 1.474 | J2.3 | 7.09 | 6.42 | 20 | 4.08 | 4.41 | 1.01 | 276 | 430 |  | 3.4258 | 4.86 | 99 | 20.4097 | 21.4 | 48.3
2022-11-01 | 1.9719 |  | 7.72 |  | 513 |  |  | 645 |  |  | 4.8929 |  |  | 5.65 |  |  | 98.1 | 3.95 |  | 6.5843 | 7.76 | 8.8215 | 8 | 11.6573 | 25.21 |  | 3.4803 | 9.716 | 0.164 | 1.2 | 6.6324 | 7.552 | 774.5 |  |  |  | 1564 |  | 8.6043 |  | 14.612 |  |  | 6.82 | 6.44 |  | 3.43 | 3.3 | 1.31 | 647.433 | 721 |  | 6.3067 | 7.8 | 97.5 | 16.98 | 18.7 | 31
2022-12-01 | 2.4003 |  | 5.479 |  | 816.278 |  |  | 912 |  |  | 7.9128 |  |  | 9.2 |  |  | 96.9 | 7.17 |  | 6.7893 | 7.45 | 12.8707 | 20 | 12.7548 | 23.35 |  | 5.0918 | 9.215 | 0.294 | 1.68 | 6.2768 | 7.501 | 897.154 |  |  |  | 1276 |  | 8.6771 |  | 12.459 |  |  | 6.76 | 6.26 |  | 3.65 | 3.36 | 1.25 | 948.194 | 1110 |  | 9.2177 | 10.98 | 96.4 | 14.4774 | 15.5 | 51.3
2023-01-01 | 2.4417 |  | 4.807 |  | 600.278 |  |  | 723 |  |  | 5.7794 |  |  | 6.71 |  |  | 98 | 5.41 | 1 | 6.8558 | 7.4 | 5.9969 | 8 | 12.3977 | 15.07 | 87.2 | 4.5208 | 7.48 | 0.157 | 1.31 | 6.2418 | 7.548 | 921.385 |  |  |  | 1159 |  | 8.6835 |  | 11.056 |  | 1.9 | 6.71 | 6.32 | 31 | 3.66 | 3.64 | 1.12 | 540.645 | 665 | 310 | 5.1913 | 6.13 | 98.1 | 14.2613 | 14.8 | 46
2023-02-01 | 1.4116 |  | 4.093 |  | 305.929 |  |  | 409 |  |  | 3.3007 |  |  | 3.9 |  |  | 98.8 | 4.79 |  | 7.105 | 8.38 | 2 | 4 | 10.785 | 14.07 |  | 3.3024 | 6.01 | 0.209 | 1.71 | 5.0755 | 7.237 | 603.5 |  |  |  | 1098 |  | 6.4871 |  | 11.288 |  |  | 6.87 | 6.3 |  | 4.05 | 4.17 | 1.17 | 297.393 | 367 |  | 3.2693 | 3.72 | 98.9 | 14.2786 | 14.6 | 41.9
2023-03-01 | 0.48871 |  | 5.347 |  | 367.737 |  |  | 412 |  |  | 3.9595 |  |  | 4.34 |  |  | 98.6 | 6.33 |  | 7.18 | 8.27 | 3 | 6 | 11.1413 | 13.64 |  | 2.2093 | 7.044 | 0.209 | 1.39 | 2.5891 | 4.413 | 279.429 |  |  |  | 859 |  | 3.0779 |  | 9.76 |  |  | 6.8 | 6.5 |  | 3.8 | 3.79 | 1.16 | 331.29 | 363 |  | 3.5677 | 3.74 | 98.9 | 14.1774 | 15.2 | 49
2023-04-01 |  | 0.10877 |  | 0.234 |  | 363.188 |  |  | 414 |  |  | 3.5506 |  |  | 3.81 |  | 98.5 | 6.34 | <0.5 | 7.137 | 7.7 | 3 | 4 | 12.133 | 15.58 |  | 1.4075 | 1.655 | 0.231 | 1.4 | 2.0766 | 2.997 |  |  | 236 |  |  | 375 |  | 2.1854 |  | 3.098 | 2.2 | 6.78 | 6.51 | 1.4 | 3.68 | 3.51 | 1.06 | 416.833 | 497 |  | 4.0733 | 4.54 | 98.4 | 14.6433 | 16 | 50.1
2023-05-01 |  | 0.10907 |  | 0.155 |  | 290.211 |  |  | 318 |  |  | 3.6732 |  |  | 4.05 |  | 98.9 | 5.67 |  | 6.7497 | 7.4 | 2 | 3 | 9.5319 | 10.43 |  | 1.6534 | 2.022 | 0.287 | 1.38 | 1.778 | 2.373 |  |  | 149.786 |  |  | 204 |  | 1.8871 |  | 2.508 |  | 6.93 | 6.64 |  | 4.19 | 4.15 | 1.05 | 300.516 | 332 |  | 3.8129 | 4.23 | 99 | 17.771 | 19 | 51.4
2023-06-01 |  | 0.14185 |  | 0.185 |  |  | 249 |  |  | 374 |  |  | 3.39 |  |  | 4.89 | 99 | 6.82 |  | 6.4423 | 6.73 | 4 | 6 | 8.753 | 10.09 |  | 1.6077 | 2.05 | 0.451 | 1.93 | 1.5792 | 2.484 |  | 126.846 |  | 197 |  |  |  | 1.721 |  | 2.654 |  | 7 | 6.8 |  | 5.13 | 4.98 | 2.8 | 325.467 | 451 |  | 4.4333 | 5.86 | 98.8 | 19.72 | 20.5 | 60.5
2023-07-01 |  | 0.154 |  | 0.218 |  |  | 189.063 |  |  | 270 |  |  | 2.8213 |  |  | 4.15 | 99.2 | 3.89 | <0.5 | 6.0942 | 6.56 | 4 | 8 | 8.0306 | 9.22 |  | 1.7807 | 2.894 | 0.364 | 1.77 | 2.4419 | 4.531 |  | 173.929 |  | 303 |  |  |  | 2.5959 |  | 4.706 | 3 | 7.2 | 6.84 | 9 | 5.39 | 5.47 | 1.28 | 390.516 | 576 |  | 5.8461 | 8.88 | 98.6 | 21.3355 | 22.8 | 65.6
2023-08-01 |  | 0.14229 |  | 0.198 |  |  | 220.778 |  |  | 320 |  |  | 3.3344 |  |  | 5.11 | 99.1 | 7.65 |  | 6.42 | 6.98 | 7.5604 | 16 | 8.0197 | 9.95 |  | 1.7304 | 2.579 | 0.345 | 1.75 | 1.8829 | 5.105 |  | 133.786 |  | 134 |  |  |  | 2.0251 |  | 5.294 |  | 7.22 | 7.03 |  | 5.55 | 5.48 | 1.4 | 415.323 | 652 |  | 6.2087 | 10.17 | 98.5 | 22.3419 | 22.8 | 62.9
2023-09-01 |  | 0.13858 |  | 0.154 |  |  | 285.471 |  |  | 322 |  |  | 3.7941 |  |  | 4.29 | 98.9 | 6.16 |  | 6.379 | 7.05 | 4 | 7 | 9.1627 | 11.08 |  | 1.5037 | 1.915 | 0.277 | 1.3 | 1.4647 | 2.764 |  | 128.5 |  | 255 |  |  |  | 1.6033 |  | 2.904 |  | 7.23 | 6.92 |  | 4.99 | 5.12 | 1.32 | 370.233 | 492 |  | 4.875 | 6.61 | 98.7 | 21.7867 | 22.3 | 50.9
2023-10-01 |  | 0.084615 |  | 0.117 |  | 274.056 |  |  | 339 |  |  | 3.4544 |  |  | 4.23 |  | 98.9 | 5.45 | <0.5 | 6.5071 | 7.39 | 7.3884 | 17 | 9.4045 | 12.51 |  | 1.3134 | 1.505 | 0.216 | 1.2 | 2.1105 | 4.363 |  |  | 179.846 |  |  | 416 |  | 2.1951 |  | 4.443 | 2.7 | 7.25 | 6.9 | 16 | 3.07 | 3.06 | 1.23 | 299.452 | 393 |  | 3.7807 | 4.8 | 98.9 | 20.6194 | 40.1 | 47.9
2023-11-01 | 0.29529 |  | 1.326 |  | 342.882 |  |  | 388 |  |  | 3.8841 |  |  | 4.23 |  |  | 98.6 | 6.18 |  | 6.8457 | 7.27 | 2 | 3 | 10.707 | 16.03 |  | 1.6991 | 2.726 | 0.237 | 1.18 | 5.4154 | 8.941 | 490 |  |  |  | 824 |  | 5.7106 |  | 9.01 |  |  | 7.04 | 6.58 |  | 3.76 | 3.88 | 1.15 | 401.3 | 442 |  | 4.4733 | 4.69 | 98.5 | 17.3533 | 18.7 | 55.3
2023-12-01 | 0.82458 |  | 3.093 |  | 427.063 |  |  | 791 |  |  | 3.8163 |  |  | 5.29 |  |  | 98.5 | 3.98 |  | 7.3393 | 8.15 | 4 | 5 | 13.9765 | 42.34 |  | 2.2728 | 4.931 | 0.178 | 0.96 | 4.756 | 6.496 | 796.25 |  |  |  | 2781 |  | 5.5806 |  | 8.063 |  |  | 6.83 | 6.29 |  | 2.65 | 2.5 | 0.97 | 745.645 | 1785 |  | 5.2339 | 8.41 | 97.5 | 15.2194 | 16.5 | 40.6
2024-01-01 | 1.0561 |  | 2.109 |  | 492.167 |  |  | 587 |  |  | 4.0133 |  |  | 4.3 |  |  | 98.2 | 3.13 |  | 7.3116 | 9.48 | 3.981 | 5 | 14.3655 | 19.79 |  | 2.3975 | 3.498 | 0.174 | 1.13 | 3.1209 | 5.922 | 494.286 |  |  |  | 761 |  | 4.1769 |  | 6.816 |  |  | 7.17 | 6.49 |  | 4.45 | 4.15 | 1.25 | 536.452 | 649 |  | 4.4845 | 5.47 | 98.2 | 13.9161 | 15.6 | 38.3
2024-02-01 | 0.33308 |  | 1.348 |  | 687 |  |  | 775 |  |  | 5.84 |  |  | 6.57 |  |  | 97.4 | 4.03 |  | 7.2007 | 8.22 | 3 | 5 | 13.4683 | 24.54 |  | 1.8812 | 3.069 | 0.198 | 1.13 | 2.9294 | 5.341 | 420.615 |  |  |  | 1224 |  | 3.2625 |  | 5.981 |  |  | 6.89 | 6.35 |  | 3.24 | 3.28 | 1.17 | 879.345 | 717 |  | 7.3103 | 6.6 | 97.1 | 14.2586 | 14.8 | 43
Min | 0.071231 | 0.065385 | 0.113 | 0.117 | 261.294 | 226.294 | 189.063 | 337 | 311 | 212 | 2.5412 | 2.64 | 2.7088 | 3.06 | 3.47 | 3 | 92.5 | 3.1 | 0.6 | 6.0942 | 6.56 | 2 | 2.3 | 7.601 | 8.76 | 74 | 1.1631 | 1.354 | 0.155 | 0.79 | 0.28779 | 0.391 | 188.692 | 29.0769 | 56.3077 | 29.1 | 289 | 96 | 1.7139 | 0.38064 | 2.67 | 0.508 | 1.3 | 6.71 | 6.21 | 0.015 | 0.43 | 0.02 | 0.66 | 206.7 | 228 | 236 | 2.9533 | 3.26 | 91.9 | 12.9032 | 13.9 | 30.7
Max | 12.3234 | 0.443 | 19.146 | 1.83 | 1780.53 | 663.421 | 615.667 | 2322 | 984 | 843 | 19.8694 | 8.7747 | 8.5622 | 23.23 | 12.07 | 10.44 | 99.3 | 56.8 | 2 | 8.8477 | 9.94 | 24.2184 | 319 | 17.3939 | 46.68 | 94.8 | 14.7061 | 22.77 | 2.23 | 2.62 | 20.02 | 26.31 | 1982.5 | 268.143 | 236 | 369 | 2883 | 416 | 25.9525 | 3.5716 | 30.94 | 5.294 | 4.7 | 7.29 | 7.08 | 38 | 6.08 | 5.48 | 2.8 | 1952.42 | 4756 | 314 | 18.0493 | 23.86 | 99.2 | 22.3419 | 137 | 131
Average | 2.0112 | 0.1242 | 4.0546 | 0.28932 | 668.2568 | 374.3664 | 295.1447 | 907.56 | 502 | 373.8947 | 6.454 | 4.7173 | 4.1817 | 7.9212 | 5.8953 | 5.1505 | 98.0864 | 7.9595 | 1.05 | 7.4679 | 8.3022 | 6.6588 | 17.5898 | 10.5917 | 16.6658 | 82.5 | 2.6533 | 3.9654 | 0.33373 | 1.4612 | 3.1286 | 4.707 | 716.0838 | 127.5981 | 160.1356 | 166.8224 | 1266.72 | 256.6 | 7.002 | 1.8835 | 10.3369 | 2.7718 | 2.8444 | 7.0525 | 6.6959 | 14.8868 | 3.66 | 3.4669 | 1.2878 | 654.3263 | 924.4407 | 282.75 | 7.1664 | 9.2834 | 97.4373 | 17.4794 | 20.8051 | 53.1424
Median | 0.44817 | 0.11311 | 1.672 | 0.2105 | 581.412 | 343.556 | 273.278 | 734 | 414 | 323 | 4.8929 | 4.3972 | 3.8311 | 6.57 | 5.46 | 4.85 | 98.5 | 6.67 | 0.95 | 7.55 | 8.28 | 5 | 8 | 9.5319 | 13.58 | 80.6 | 1.8695 | 2.611 | 0.287 | 1.44 | 2.2245 | 3.272 | 603.5 | 133.786 | 171.75 | 156 | 1159 | 237 | 5.5806 | 2.0432 | 8.063 | 2.902 | 2.7 | 7.06 | 6.76 | 12.5 | 3.68 | 3.52 | 1.26 | 553.613 | 742 | 290.5 | 6.6532 | 9 | 97.7 | 17.3533 | 18.7 | 51.3
95th Percentile | 10.5124 | 0.16591 | 16.409 | 0.5186 | 1476.414 | 614.3013 | 475.3417 | 2142 | 841.9 | 743.1 | 17.9013 | 7.7617 | 6.8153 | 22.344 | 9.627 | 9.639 | 99.11 | 14.29 | 1.75 | 8.543 | 9.825 | 17.1153 | 62.1 | 15.3356 | 35.641 | 93.66 | 9.6681 | 13.505 | 0.517 | 1.98 | 6.4607 | 9.1768 | 1835.8 | 210.8904 | 221.8922 | 309.6 | 2757.2 | 405.5 | 20.1445 | 2.8622 | 26.2878 | 4.7588 | 4.36 | 7.253 | 6.964 | 35.4 | 5.406 | 5.272 | 1.591 | 1305.944 | 1839.9 | 313.4 | 13.8747 | 17.374 | 99 | 21.7435 | 22.8 | 71.33
Feature Type : | Ground
Feature Name | -5
Feature Description | (Reclaimed Water/Reuse)
Monitoring Point Code : | -5
Monitoring Point Description : | (Reclaimed Water)
Monitoring Point Id : | -118441
Parameter | Chlorine (Total residual) | Dissolved Oxygen (Not Applicable) | Dissolved Oxygen (Not Applicable) | Flow (Not Applicable) | Flow (Not Applicable) | Nitrate (Total) | Nitrate (Total) | pH (Hydrogen Ion) (Not Applicable) | pH (Hydrogen Ion) (Not Applicable) | Total Coliforms (Not Applicable) | Total Coliforms (7 Day Median) (Not Applicable) | Turbidity (Nephelometric) (Measured) | Turbidity (Nephelometric) (Measured)
Units | Milligrams/L (mg/L) | Milligrams/L (mg/L) | Milligrams/L (mg/L) | Million Gallons/Day (MGD) | Million Gallons/Day (MGD) | Milligrams/L (mg/L) | Milligrams/L (mg/L) | Standard Units | Standard Units | #/100ml | #/100ml | NTU | NTU
Statistical Base | Minimum | Average | Maximum | Average | Maximum | Average | Maximum | Maximum | Minimum | Maximum | 7 Day Median | Average Monthly | Maximum
Limits | - / - | - / - | - / - | - / - | - / - | - / 10 | - / - | - / 9 | 6 / - | - / 23 | - / 2 | - / 2 | - / 5
Benchmarks | - / - | - / - | - / - | - / - | - / - | - / - | - / - | - / - | - / - | - / - | - / - | - / - | - / -
Design Limit |  |  |  | 1.5
Date | Value | Value | Value | Value | Value | Value | Value | Value | Value | Value | Value | Value | Value
2019-03-01 | 0.98 | 10.29 | 10.66 | 0.36526 | 0.86 | 1.68 | 2.71 | 7.01 | 6.74 | <1 | <1 | 0.61 | 0.87
2019-04-01 | 0.97 | 9.925 | 10.6 | 0.70167 | 0.871 | 1.7654 | 2.7 | 7.08 | 6.77 | 6.4 | 0 | 0.514 | 4.8
2019-05-01 | 0.86 | 9.4481 | 9.88 | 0.80426 | 1.225 | 2.0993 | 2.88 | 7.11 | 6.86 | 65.9 | 2 | 0.33 | 0.63
2019-06-01 | 0.9 | 9.3607 | 10 | 0.93477 | 1.236 | 1.155 | 1.67 | 7.12 | 6.81 | 3.1 | 1 | 0.46 | 0.92
2019-07-01 | 0.95 | 8.9635 | 9.41 | 0.80461 | 1.184 | 2.2594 | 2.91 | 7.15 | 6.87 | 2 | 1 | 0.48839 | 1.09
2019-09-01 | 0.78 | 8.9147 | 9.84 | 0.47687 | 0.791 | 3.4479 | 4.45 | 7.24 | 6.97 | 3.1 | 1 | 0.354 | 0.84
2019-10-01 | 0.74 | 9.6023 | 10.9 | 0.369 | 0.409 | 2.6415 | 3.56 | 7.14 | 6.86 | 25.4 | 1 | 0.61903 | 1.55
2019-12-01 | 0.92 | 10.09 | 10.09 | 0.598 | 0.598 | 24.5 | 24.5 | 6.7 | 6.7 | 4.2 | 2 | 0.87 | 1.34
2020-02-01 | 0.76 | 9.9252 | 10.49 | 0.35417 | 0.416 | 1.7533 | 3.79 | 7.3 | 6.96 | 1 | <1 | 0.5131 | 1
2020-03-01 | 0.89 | 9.8935 | 10.2 | 0.3689 | 0.448 | 2.065 | 3.1 | 7.08 | 6.83 | 1 | <1 | 0.61871 | 1.41
2020-04-01 | 0.83 | 9.688 | 10.2 | 0.405 | 0.483 | 2.2677 | 3.06 | 7.12 | 6.92 | 1 | <1 | 0.466 | 0.94
2020-05-01 | 0.89 | 9.3758 | 9.81 | 0.39703 | 0.456 | 2.2583 | 2.98 | 7.15 | 6.95 | 1 | <1 | 0.60129 | 1.47
2020-06-01 | 0.96 | 9.2467 | 9.57 | 0.4882 | 0.864 | 1.9579 | 2.58 | 7.15 | 6.9 | 200.5 | <1 | 0.449 | 0.73
2020-07-01 | 0.74 | 9.079 | 10.22 | 0.86364 | 1.266 | 1.9154 | 2.79 | 7.18 | 6.99 | <1 | <1 | 0.64129 | 1.43
2020-08-01 | 0.92 | 8.8097 | 10.16 | 0.935 | 1.292 | 2.3292 | 3.19 | 7.37 | 7.02 | 11.1 | <1 | 0.51839 | 1.53
2020-09-01 | 0.78 | 8.983 | 10.57 | 0.61733 | 0.935 | 2.1481 | 3.27 | 7.34 | 7.13 | <1 | <1 | 0.74933 | 1.26
2020-10-01 | 0.94 | 8.9713 | 9.73 | 0.38323 | 0.462 | 2.2258 | 2.67 | 7.29 | 7.07 | <1 | <1 | 0.75581 | 1.23
2020-11-01 | 0.87 | 9.594 | 10.09 | 0.3663 | 0.585 | 5.0831 | 6.69 | 8.82 | 6.84 | 1 | 0 | 0.54467 | 2.46
2020-12-01 | 0.97 | 10.0306 | 10.65 | 0.44384 | 0.907 | 6.0436 | 7.62 | 7.17 | 6.6 | <1 | <1 | 0.59806 | 2.26
2021-01-01 | 1.03 | 10.3 | 11.2 | 0.45513 | 0.628 | 6.44 | 11.3 | 6.97 | 6.57 | 53.1 | <1 | 0.54129 | 1.61
2021-02-01 | 1.24 | 10.32 | 10.63 | 0.39471 | 0.629 | 5.1908 | 8.8 | 7.05 | 6.69 | <1 | <1 | 0.48536 | 0.81
2021-03-01 | 0.82 | 10.17 | 10.44 | 0.322 | 0.519 | 2.51 | 2.96 | 7.11 | 6.89 | <1 | <1 | 0.59 | 1.59
2021-04-01 | 0.67 | 9.7373 | 10.15 | 0.46703 | 0.876 | 1.7438 | 2.47 | 7.08 | 6.67 | 1 | <1 | 0.523 | 0.93
2021-05-01 | 0.68 | 9.3277 | 9.75 | 0.704 | 0.931 | 2.3939 | 2.87 | 7.16 | 6.96 | 1 | <1 | 0.65 | 1.31
2021-06-01 | 0.77 | 8.9263 | 9.33 | 0.68713 | 1.049 | 1.9439 | 3.54 | 7.18 | 6.98 | 1 | <1 | 0.43 | 1.91
2021-07-01 | 0.88 | 8.0877 | 8.79 | 0.91194 | 1.201 | 2.7965 | 3.98 | 7.24 | 6.95 | 1 | <1 | 0.63936 | 1.22
2021-08-01 | 1.05 | 8.6342 | 9.79 | 0.9061 | 1.121 | 1.2857 | 1.91 | 7.45 | 7.06 | <1 | <1 | 0.42774 | 1
2021-09-01 | 0.82 | 7.8557 | 8.95 | 0.63417 | 0.917 | 1.8817 | 2.6 | 7.2 | 7.04 | 1 | <1 | 0.61433 | 2.06
2021-10-01 | 0.85 | 7.8 | 8.8 | 0.38706 | 0.601 | 1.8123 | 2.25 | 7.22 | 6.81 | 28.8 | <1 | 0.54839 | 1.41
2021-11-01 | 1.01 | 8.351 | 9.09 | 0.6457 | 0.78 | 2.25 | 3.8 | 7.05 | 6.65 | 4.2 | <1 | 0.319 | 0.53
2021-12-01 | 0.89 | 9.2597 | 10.56 | 0.63387 | 0.75 | 3.1879 | 4.43 | 6.95 | 6.56 | 1 | <1 | 0.43 | 1.11
2022-01-01 | 1.08 | 9.4723 | 10.74 | 0.46939 | 0.859 | 4.1342 | 5.91 | 6.92 | 6.24 | 1 | <1 | 0.38032 | 0.68
2022-02-01 | 0.84 | 9.3761 | 10.46 | 0.53725 | 0.733 | 3.1608 | 5.97 | 7.03 | 6.67 | 1 | <1 | 0.47071 | 0.78
2022-03-01 | 1.01 | 9.3781 | 10.57 | 0.34077 | 0.562 | 1.6446 | 2.5 | 7.26 | 6.44 | <1 | <1 | 0.38036 | 1.06
2022-04-01 | 0.84 | 9.187 | 10.22 | 0.39733 | 0.56 | 0.99846 | 1.65 | 7.22 | 6.93 | 1 | <1 | 0.24967 | 0.53
2022-05-01 | 0.81 | 9.1332 | 9.82 | 0.41487 | 0.482 | 0.51 | 0.75 | 7.31 | 6.81 | <1 | <1 | 0.24871 | 0.54
2022-06-01 | 0.96 | 8.4197 | 9.27 | 0.515 | 0.819 | 0.28714 | 0.39 | 7.14 | 6.94 | 1 | <1 | 0.392 | 0.69
2022-07-01 | 1.07 | 8.0874 | 9.68 | 0.92223 | 1.163 | 0.32769 | 0.67 | 7.16 | 6.89 | 1 | <1 | 0.44645 | 0.71
2022-08-01 | 0.97 | 7.6013 | 8.94 | 0.98029 | 1.27 | 0.55429 | 0.88 | 7.15 | 6.85 | 1 | <1 | 0.60064 | 1.23
2022-09-01 | 0.75 | 7.5583 | 8.09 | 0.7242 | 1.049 | 0.48 | 0.62 | 7.2 | 6.94 | 200.5 | <1 | 0.53233 | 0.79
2022-10-01 | 0.88 | 7.6764 | 8.38 | 0.57548 | 0.838 | 1.0075 | 1.33 | 7.12 | 6.55 | 1 | <1 | 0.49323 | 1.83
2022-11-01 | 0.78 | 8.3747 | 9.4 | 0.40073 | 0.466 | 6.6321 | 7.55 | 6.97 | 6.56 | 1 | <1 | 0.56867 | 1.68
2022-12-01 | 1.68 | 8.7755 | 9.32 | 0.42813 | 0.901 | 6.2777 | 7.5 | 6.98 | 6.08 | 78.2 | <1 | 0.68516 | 2.06
2023-01-01 | 1.35 | 8.8713 | 9.35 | 0.40832 | 0.851 | 6.2423 | 7.55 | 6.87 | 6.38 | 1 | <1 | 0.45161 | 0.78
2023-02-01 | 0.82 | 9.1363 | 10.16 | 0.42179 | 0.722 | 5.0767 | 7.24 | 7.26 | 6.46 | 1 | <1 | 0.34893 | 0.83
2023-03-01 | 0.92 | 9.04 | 9.3 | 0.173 | 0.45 | 2.86 | 4.41 | 6.91 | 6.56 | 1 | <1 | 0.62 | 1
2023-04-01 | 1.01 | 8.9503 | 9.57 | 0.40887 | 0.516 | 2.0777 | 3 | 6.87 | 6.6 | 1 | <1 | 0.49333 | 0.96
2023-05-01 | 0.82 | 8.3468 | 9.8 | 0.60358 | 0.89 | 1.7786 | 2.37 | 7.05 | 6.76 | <1 | <1 | 0.65258 | 0.96
2023-06-01 | 1.11 | 7.743 | 9.62 | 0.9143 | 1.25 | 1.5792 | 2.484 | 7.1 | 6.88 | <1 | <1 | 0.562 | 0.96
2023-07-01 | 0.9 | 7.4026 | 8.16 | 1.0303 | 1.282 | 2.4429 | 4.53 | 7.3 | 6.96 | 1 | <1 | 0.59645 | 2.02
2023-08-01 | 1.05 | 7.091 | 7.94 | 1.0181 | 1.301 | 1.8836 | 5.11 | 7.32 | 7.1 | <1 | <1 | 0.52226 | 1.19
2023-09-01 | 1.15 | 7.167 | 7.88 | 0.7306 | 1.099 | 1.465 | 2.76 | 7.35 | 6.99 | 1 | <1.0 | 0.39333 | 1.42
2023-10-01 | 1.01 | 7.6181 | 8.77 | 0.40974 | 0.638 | 2.1115 | 4.36 | 7.34 | 7 | <1 | <1 | 0.41 | 0.75
2023-11-01 | 0.86 | 8.3567 | 9.15 | 0.37067 | 0.804 | 5.4157 | 8.94 | 6.97 | 6.67 | 1 | <1 | 0.49233 | 0.75
2023-12-01 | 0.97 | 9.1965 | 9.98 | 0.38232 | 0.62 | 4.7583 | 6.5 | 7.08 | 6.46 | <11 | <1 | 0.33774 | 0.58
2024-02-01 | 1.1 | 9.11 | 9.47 | 0.38 | 0.872 | 2.93 | 5.34 | 6.88 | 6.51 | 1 | <1 | 0.34 | 1.01
Min | 0.67 | 7.091 | 7.88 | 0.173 | 0.409 | 0.28714 | 0.39 | 6.7 | 6.08 | 1 | 0 | 0.24871 | 0.53
Max | 1.68 | 10.32 | 11.2 | 1.0303 | 1.301 | 24.5 | 24.5 | 8.82 | 7.13 | 200.5 | 2 | 0.87 | 4.8
Average | 0.93036 | 8.9291 | 9.7248 | 0.56756 | 0.82655 | 3.0298 | 4.2561 | 7.1596 | 6.783 | 17.4024 | 1 | 0.51015 | 1.2329
Median | 0.9 | 9.0595 | 9.805 | 0.47313 | 0.8445 | 2.187 | 3.08 | 7.145 | 6.845 | 1 | 1 | 0.51355 | 1.035
95th Percentile | 1.1725 | 10.2 | 10.68 | 0.94632 | 1.273 | 6.3183 | 8.835 | 7.355 | 7.0625 | 78.2 | 2 | 0.7012 | 2.11