## metadata
No | Metadata element name | Your input | Help reference no.
1 | Submission Date |  | 1
2 | Accession no. of related data sets |  | 2
3 | Investigator-1 name | Simone R. Alin | 3.1
4 | Investigator-1 institution | NOAA Pacific Marine Environmental Laboratory (NOAA/PMEL) | 3.2
5 | Investigator-1 address | 7600 Sand Point Way NE, Building 3, Seattle, WA 98115 | 3.3
6 | Investigator-1 phone | 206-526-6819 | 3.4
7 | Investigator-1 email | simone.r.alin@noaa.gov | 3.5
8 | Investigator-1 researcher ID | 1: 0000-0002-8283-1910, 2: J-6836-2017 | 3.6
9 | Investigator-1 ID type (ORCID, Researcher ID, etc.) | 1: ORCID; 2: Researcher ID | 3.7
10 | Investigator-2 name | Richard A. Feely | 3.1
11 | Investigator-2 institution | NOAA Pacific Marine Environmental Laboratory (NOAA/PMEL) | 3.2
12 | Investigator-2 address | 7600 Sand Point Way NE, Building 3, Seattle, WA 98115 | 3.3
13 | Investigator-2 phone | 206-526-6214 | 3.4
14 | Investigator-2 email | Richard.A.Feely@noaa.gov | 3.5
15 | Investigator-2 researcher ID |  | 3.6
16 | Investigator-2 ID type (ORCID, Researcher ID, etc.) |  | 3.7
17 | Investigator-3 name | Andrew Collins | 3.1
18 | Investigator-3 institution | NOAA Pacific Marine Environmental Laboratory (NOAA/PMEL) | 3.2
19 | Investigator-3 address | 7600 Sand Point Way NE, Building 3, Seattle, WA 98115 | 3.3
20 | Investigator-3 phone | 206-526-6208 | 3.4
21 | Investigator-3 email | andrew.collins@noaa.gov | 3.5
22 | Investigator-3 researcher ID |  | 3.6
23 | Investigator-3 ID type (ORCID, Researcher ID, etc.) |  | 3.7
24 | Data submitter name | Andrew Collins | 4.1
25 | Data submitter institution | NOAA Pacific Marine Environmental Laboratory (NOAA/PMEL) | 4.2
26 | Data submitter address | 7600 Sand Point Way NE, Building 3, Seattle, WA 98115 | 4.3
27 | Data submitter phone | 206-526-6208 | 4.4
28 | Data submitter email | andrew.collins@noaa.gov | 4.5
29 | Data submitter researcher ID |  | 4.6
30 | Data submitter ID type (ORCID, Researcher ID, etc.) |  | 4.7
31 | Title | Fugacity of carbon dioxide (fCO2), temperature, salinity and other variables collected from surface underway observations using shower head equilibrator, carbon dioxide gas detector and other instruments from the NOAA Ship Bell M. Shimada cruises SH1906_L1, SH1906_L2, SH1906_L3, SH106_L4, SH1907, and SH1908 (EXPOCODES 332220190617, 332220190708, 332220190725, 332220190806, 332220190911, 3322201900921) on the continental shelf of the US West Coast from 2019-06-17 to 2019-09-29 (NCEI Accession Numbers 0XXXXXX, 0XXXXXX, 0XXXXXX, 0XXXXXX, 0XXXXXX, 0XXXXXX). | 5
32 | Abstract | Underway measurements of fCO2, salinity, sea surface temperature, and other parameters collected in 2019 on board the NOAA Ship Bell M. Shimada on the continental shelf of the US West Coast. Cruise names and Expocodes: SH1906_L1 (332220190617), SH1906_L2 (332220190708), SH1906_L3 (332220190725), SH1906_L4 (332220190806), SH1907 (332220190911), SH1908 (3322201900921). This effort was conducted in support of the coastal monitoring and research objectives of the NOAA Ocean Acidification Program (OAP). | 6
33 | Purpose | The major objectives of the project were to characterize and map the key indicators of ocean acidification (OA) along the U.S. West Coast waters, and to continue a time series documenting the distribution of surface and atmospheric fCO2, salinity, temperature, and other parameters. | 7
34 | Start date | 2019-06-17 | 8.1
35 | End date | 2019-09-29 | 8.2
36 | Westbd longitude | 128.828° W | 9.1
37 | Eastbd longitude | 122.401° W | 9.2
38 | Northbd latitude | 48.563° N | 9.3
39 | Southbd latitude | 39.806° N | 9.4
40 | Geographic names | US West Coast | 11
41 | Funding agency name | NOAA Ocean Acidification Program, with leveraging from historical NOAA Climate Program Office investments | 13.1
42 | Funding project title | NOAA Ocean Acidification Program project "PMEL Sustained Investment Coastal Underway Ocean Acidification Observations" | 13.2
43 | Funding project ID (Grant no.) |  | 13.3
44 | Research projects |  | 14
45 | Platform-1 name | NOAA Ship Bell M. Shimada | 15.1
46 | Platform-1 ID | 3322 | 15.2
47 | Platform-1 type | Research vessel | 15.3
48 | Platform-1 owner | U.S. National Oceanic and Atmospheric Administration | 15.4
49 | Platform-1 country | U.S.A. | 15.5
50 | Platform-2 name |  | 15.1
51 | Platform-2 ID |  | 15.2
52 | Platform-2 type |  | 15.3
53 | Platform-2 owner |  | 15.4
54 | Platform-2 country |  | 15.5
55 | Platform-3 name |  | 15.1
56 | Platform-3 ID |  | 15.2
57 | Platform-3 type |  | 15.3
58 | Platform-3 owner |  | 15.4
59 | Platform-3 country |  | 15.5
60 | EXPOCODE | 332220190617, 332220190708, 332220190725, 332220190806, 332220190911, 3322201900921 | 16
61 | Cruise ID | SH1906_L1, SH1906_L2, SH1906_L3, SH1906_L4, SH1907, SH1908 | 17
62 | Section |  | 18
63 | Author list for citation | Alin, S.R; Collins, A.U; Feely, R.A; Cosca, C.E. | 19
64 | References | Pierrot, D., C. Neill, K. Sullivan, R. Castle, R. Wanninkhof, H. Lüger, T. Johannessen, A. Olsen, R.A. Feely, and C.E. Cosca (2009): Recommendations for autonomous underway pCO2 measuring systems and data-reduction routines. Deep-Sea Res. II, 56(8–10), 512–522, doi: 10.1016/j.dsr2.2008.12.005. Feely, R.A., R. Wanninkhof, H.B. Milburn, C.E. Cosca, M. Stapp, and P.P. Murphy, A new automated underway system for making high precision pCO2 measurements onboard research ships, Analytica Chim. Acta, 377, 185-191, 1998. Wanninkhof and Thoning, Measurement of fugacity of Carbon Dioxide in surface water and air using continuous sampling methods, Marine Chemistry, 44, 189-205, 1993. | 20
65 | Supplemental information | http://www.pmel.noaa.gov/co2/ | 21
66 | DIC: Variable abbreviation in data files |  | 22.1
67 | DIC: Variable unit |  | 22.5
68 | DIC: Observation type |  | 22.2
69 | DIC: Measured or calculated |  | 22.6
70 | DIC: Calculation method and parameters |  | 22.7
71 | DIC: Sampling instrument |  | 22.8
72 | DIC: Analyzing instrument |  | 22.9
73 | DIC: Detailed sampling and analyzing information |  | 22.10
74 | DIC: Field replicate information |  | 22.11
75 | DIC: Standardization technique description |  | 22.12.1
76 | DIC: Frequency of standardization |  | 22.12.2
77 | DIC: CRM manufacturer |  | 22.12.3.1
78 | DIC: Batch number |  | 22.12.3.2
79 | DIC: Poison used to kill the sample |  | 22.13.1
80 | DIC: Poison volume |  | 22.13.2
81 | DIC Poisoning correction description |  | 22.13.3
82 | DIC: Uncertainty |  | 22.14
83 | DIC: Data quality flag description |  | 22.15
84 | DIC: Method reference (citation) |  | 22.16
85 | DIC: Researcher Name |  | 22.17.1
86 | DIC: Researcher Institution |  | 22.17.2
87 | TA: Variable abbreviation in data files |  | 23.1
88 | TA: Variable unit |  | 23.5
89 | TA: Observation type |  | 23.2
90 | TA: Measured or calculated |  | 23.6
91 | TA: Calculation method and parameters |  | 23.7
92 | TA: Sampling instrument |  | 23.8
93 | TA: Analyzing instrument |  | 23.9
94 | TA: Type of titration |  | 23.1
95 | TA: Cell type (open or closed) |  | 23.11
96 | TA: Curve fitting method |  | 23.12
97 | TA: Detailed sampling and analyzing information |  | 23.13
98 | TA: Field replicate information |  | 23.14
99 | TA: Standardization technique description |  | 23.15.1
100 | TA: Frequency of standardization |  | 23.15.2
101 | TA: CRM manufacturer |  | 23.15.3.1
102 | TA: Batch Number |  | 23.15.3.2
103 | TA: Poison used to kill the sample |  | 23.16.1
104 | TA: Poison volume |  | 23.16.2
105 | TA: Poisoning correction description |  | 23.16.3
106 | TA: Magnitude of blank correction |  | 23.17
107 | TA: Uncertainty |  | 23.18
108 | TA: Data quality flag description |  | 23.19
109 | TA: Method reference (citation) |  | 23.2
110 | TA: Researcher Name |  | 23.21.1
111 | TA: Researcher Institution |  | 23.21.2
112 | pH: Variable abbreviation in data files |  | 24.1
113 | pH: pH scale |  | 24.9
114 | pH: Observation type |  | 24.2
115 | pH: Measured or calculated |  | 24.5
116 | pH: Calculation method and parameters |  | 24.6
117 | pH: Sampling instrument |  | 24.7
118 | pH: Analyzing instrument |  | 24.8
119 | pH: Temperature of measurement |  | 24.1
120 | pH: Detailed sampling and analyzing information |  | 24.11
121 | pH: Field replicate information |  | 24.12
122 | pH: Standardization technique description |  | 24.13.1
123 | pH: Frequency of standardization |  | 24.13.2
124 | pH: pH values of the standards |  | 24.13.3
125 | pH: Temperature of standardization |  | 24.13.4
126 | pH: Temperature correction method |  | 24.14
127 | pH: at what temperature was pH reported |  | 24.15
128 | pH: Uncertainty |  | 24.16
129 | pH: Data quality flag description |  | 24.17
130 | pH: Method reference (citation) |  | 24.18
131 | pH: Researcher Name |  | 24.19.1
132 | pH: Researcher Institution |  | 24.19.2
133 | pCO2A: Variable abbreviation in data files | fCO2_SW@SST_uatm, dfCO2_uatm | 25.1
134 | pCO2A: Variable unit | uatm | 25.5
135 | pCO2A: Observation type | Surface underway | 25.2
136 | pCO2A: Measured or calculated | Measured | 25.6
137 | pCO2A: Calculation method and parameters | Fugacity of CO2 is obtained by correcting the partial pressure of CO2 (pCO2) for non-ideality of the gas with respect to molecular interactions between CO2 and other gases in air. See Pierrot et al. for details on how the correction is made. | 25.7
138 | pCO2A: Sampling instrument | Seawater pump | 25.8
139 | pCO2A: Location of seawater intake | Bow | 25.9
140 | pCO2A: Depth of seawater intake | 5 meters | 25.1
141 | pCO2A: Analyzing instrument | General Oceanics 8050; PMEL system ID: L08/10972/124 | 25.11
142 | pCO2A: Detailed sampling and analyzing information | The sampling and analyzing methods of the Neill/General Oceanics Underway pCO2 systems are described in detail in: Pierrot, D., C. Neill, K. Sullivan, R. Castle, R. Wanninkhof, H. Lüger, T. Johannessen, A. Olsen, R.A. Feely, and C.E. Cosca (2009): Recommendations for autonomous underway pCO2 measuring systems and data-reduction routines. Deep-Sea Res. II, 56(8–10), 512–522, doi: 10.1016/j.dsr2.2008.12.005. | 25.12
143 | pCO2A: Equilbrator type | Shower head | 25.13.1
144 | pCO2A: Equilibrator volume (L) | ~0.5 L | 25.13.2
145 | pCO2A: Vented or not | Vented | 25.13.3
146 | pCO2A: Water flow rate (L/min) | 3 L/min | 25.13.4
147 | pCO2A: Headspace gas flow rate (L/min) | ~0.8 L/m | 25.13.5
148 | pCO2A: How was temperature inside the equilibrator measured . | Hart Scientific model 1523 digital thermometer, serial number A3491324, with an NIST traceable model 5610 thermistor probe, serial number A8C0309. Accurate to ± 0.01°C. | 25.13.6
149 | pCO2A: How was pressure inside the equilibrator measured. | Setra 239 differential pressure transducer, accurate to ± 0.15 hPa. The equilibrator was passively vented to a secondary equilibrator, and the Licor sample output was vented to the laboratory when CO2 measurements were made, thus equilibrator headspace pressure was assumed to be laboratory pressure. | 25.13.7
150 | pCO2A: Drying method for CO2 gas | From Pierrot et al.: Sample air is dried in a condenser that is cooled to 4-5 degrees Celsius by a Peltier thermoelectric device. This partially dried air flushes a chamber that is vented and remains at ambient pressure. The dried air inside the chamber is used as the counter flow in the Nafion® tubing. A vacuum pump pulls the dried air from the chamber first through a fixed restrictor and then through the Nafion® tubes, thus creating an absolute pressure and corresponding partial pressure gradient for water vapor across the membrane. When atmospheric air is measured, some of the partially dried air (80-100 mL/min) is pushed through a Nafion® tube, the analyzer and out a vent instead of flushing the chamber. The headspace gas, when being measured, is circulated in a closed loop through the analyzer at a rate similar to that of the atmospheric air (80-100 mL/min). It is dried first in the condenser, then in a Nafion® tube prior to entering the analyzer and being returned to the equilibrator. Typically, the water mole fraction (xH2O) in the dried gas is about 2 parts per thousand (ppt), which corresponds to a dew point temperature of about -20 degrees C. The liquid water condensed out of the sample air streams is removed by peristaltic pumps into the vent equilibrator at intervals determined by the user. | 25.14
151 | pCO2A: Manufacturer of the gas detector | Licor, Inc | 25.15.1
152 | pCO2A: Model of the gas detector | Licor 7000, IRG4-0846 | 25.15.2
153 | pCO2A: Resolution of the gas detector | 0.2 µatm | 25.15.3
154 | pCO2A: Uncertainty of the gas detector | 0.3 µatm for equilibrator measurements, 0.2 µatm for atmospheric measurements | 25.15.4
155 | pCO2A: Standardization technique description | The system runs a full cycle in approximately six hours. The cycle starts with four standard gases composed of a known quantity of CO2 in air, a gas composed of 100% ultra-high purity nitrogen, then measures six atmopheric samples followed by 60 surface water samples. The gas detector runs a zero and span routine twice daily, using the nitrogen and highest CO2 gas standard, respectively. | 25.16.1
156 | pCO2A: Frequency of standardization | Every three hours | 25.16.2
157 | pCO2A: Manufacturer of standard gas | Standard gases are supplied by NOAA’s Earth System Research Laboratory, Global Monitoring Division, in Boulder, CO, and are directly traceable to the WMO scale. | 25.16.3.1
158 | pCO2A: Concentrations of standard gas | LL55884 = 301.13 ppm CO2, LL122879 = 397.67 ppm CO2, CC506412 = 597.45 ppm CO2, LL70569 = 908.022 ppm CO2 | 25.16.3.2
159 | pCO2A: Uncertainties of standard gas | 0.01 ppm | 25.16.3.3
160 | pCO2A: Water vapor correction method | Details of the data reduction are described in Pierrot, et.al. (2009). | 25.17
161 | pCO2A: Temperature correction method | Details of the data reduction are described in Pierrot, et.al. (2009). | 25.18
162 | pCO2A: at what temperature was pCO2 reported | In situ sea surface temperature | 25.19
163 | pCO2A: Uncertainty | ± 0.01°C | 25.2
164 | pCO2A: Data quality flag description | WOCE quality control flags are used: 2 = good value, 3 = questionable value, 4 = bad value | 25.21
165 | pCO2A: Method reference (citation) | Pierrot, D.; Neill, C.; Sullivan, K.; Castle, R.; Wanninkhof, R.; Luger, H.; Johannessen, T.; Olsen, A.; Feely, R.A.; and Cosca, C.E. (2009). Recommendations for autonomous underway pCO2 measuring systems and data-reduction routines. Deep-Sea Res., II, v. 56, pp. 512-522. | 25.22
166 | pCO2A: Researcher Name | Collins, A.U. | 25.23.1
167 | pCO2A: Researcher Institution | Pacific Marine Environmental Laboratory, National Oceanic and Atmospheric Administration | 25.23.2
168 | pCO2D: Variable abbreviation in data files |  | 26.1
169 | pCO2D: Variable unit |  | 26.5
170 | pCO2D: Observation type |  | 26.2
171 | pCO2D: Measured or calculated |  | 26.6
172 | pCO2D: Calculation method and parameters |  | 26.7
173 | pCO2D: Sampling instrument |  | 26.8
174 | pCO2D: Analyzing instrument |  | 26.9
175 | pCO2D: Storage method |  | 26.1
176 | pCO2D: Seawater volume (mL) |  | 26.11
177 | pCO2D: Headspace volume (mL) |  | 26.12
178 | pCO2D: Temperature of measurement |  | 26.13
179 | pCO2D: Detailed sampling and analyzing information |  | 26.14
180 | pCO2D: Field replicate information |  | 26.15
181 | pCO2D: Manufacturer of the gas detector |  | 26.16.1
182 | pCO2D: Model of the gas detector |  | 26.16.2
183 | pCO2D: Resolution of the gas detector |  | 26.16.3
184 | pCO2D: Uncertainty of the gas detector |  | 26.16.4
185 | pCO2D: Standardization technique description |  | 26.17.1
186 | pCO2D: Frequency of standardization |  | 26.17.2
187 | pCO2D: Temperature of standardization |  | 26.17.3
188 | pCO2D: Manufacturer of standard gas |  | 26.17.4.1
189 | pCO2D: Concentrations of standard gas |  | 26.17.4.2
190 | pCO2D: Uncertainties of standard gas |  | 26.17.4.3
191 | pCO2D: Water vapor correction method |  | 26.18
192 | pCO2D: Temperature correction method |  | 26.19
193 | pCO2D: at what temperature was pCO2 reported |  | 26.2
194 | pCO2D: Uncertainty |  | 26.21
195 | pCO2D: Data quality flag description |  | 26.22
196 | pCO2D: Method reference (citation) |  | 26.23
197 | pCO2D: Researcher Name |  | 26.24.1
198 | pCO2D: Researcher Institution |  | 26.24.2
199 | Var1: Variable abbreviation in data files | SST_C | 27.1
201 | Var1: Full variable name | Sea Surface Temperature | 27.2
200 | Var1: Variable unit | Degrees Celsius | 27.7
202 | Var1: Observation type | Surface Underway | 27.4
203 | Var1: Sampling instrument | In-situ observation | 27.1
204 | Var1: Analyzing instrument | Seabird Electronics 45, maintained and calibrated yearly by ship personnel | 27.11
205 | Var1: Detailed sampling and analyzing information |  | 27.13
206 | Var1: Field replicate information |  | 27.14
207 | Var1: Uncertainty | 0.0025°C | 27.15
208 | Var1: Data quality flag description |  | 27.16
209 | Var1: Method reference (citation) |  | 27.17
210 | Var1: Researcher Name |  | 27.21.1
211 | Var1: Researcher Institution |  | 27.21.2
212 | Var2: Variable abbreviation in data files | SAL_PSU | 27.1
214 | Var2: Full variable name | Sea Surface Salinity | 27.2
213 | Var2: Variable unit | PSU | 27.7
215 | Var2: Observation type | Surface Underway | 27.4
216 | Var2: Sampling instrument | Seabird Electronics 45, maintained and calibrated yearly by ship personnel | 27.1
217 | Var2: Analyzing instrument |  | 27.11
218 | Var2: Detailed sampling and analyzing information |  | 27.13
219 | Var2: Field replicate information |  | 27.14
220 | Var2: Uncertainty | 0.005 PSU | 27.15
221 | Var2: Data quality flag description |  | 27.16
222 | Var2: Method reference (citation) |  | 27.17
223 | Var2: Researcher Name |  | 27.21.1
224 | Var2: Researcher Institution |  | 27.21.2
225 | VarN: Variable abbreviation in data files |  | 28.1
226 | VarN: Full variable name |  | 28.2